## Diagnostic form
Model: | N2-MISTRAL-LCMS
Seriál Number:
Diagnostic item | value | unit
C1 temp |  | °C
C2 temp |  | °C
Out press (out valve opened) |  | bar
Out press (out valve closed) |  | bar
S#1 press |  | bar
Tank press (out valve opened) |  | bar
Tank press (out valve closed) |  | bar
Flow |  | L/min
Oxygen |  | %
WT CMP1 |  | hours
WT CMP2 |  | hours
SRV 4000 |  | hours
SRV 8000 |  | hours
Pressures on the manometers
Pump pressure |  | bar
Pump press. (during cycle changing) |  | bar
Pressure line 1 |  | bar
Pressure line 2 |  | bar
Input press.section 2 |  | bar
Measured values (if checking or adjusting procedure has been performed)
Output flow |  | L/min
Oxygen sensor flow |  | mL/min
Oxygen level |  | %
Regeneration flow Line1 |  | L/min
Regeneration flow Line2 |  | L/min
Changed parts:
Passed (YES or NO):
Date: |  | Signature:

## Configure form
Only for internal purpose!!!
Model: | N2-MISTRAL-LCMS
Seriál Number: | 0
Configure item | value | unit
Flow min. |  | L/min
Flow max. |  | L/min
Volume |  | L/min
Cycle time |  | sec
Equilibration time |  | sec
Capacity time |  | sec
lin. Frequency
Fan stop time |  | sec
Disable time press min. |  | min
Prealarm temperature |  | °C
Alarm temperature |  | °C
Prealarm P min. S#1 |  | bar
Alarm P min. S#1 |  | bar
P ist. Tank |  | bar
P max. Tank |  | bar
P max. Outlet |  | bar
O2 max. Prealarm |  | %
O2 max. Alarm |  | %
Comp. Worktime Prealarm |  | hours
Comp. Worktime Alarm |  | hours
Service 4000 h. Prealarm |  | hours
Service 4000 h Alarm |  | hours
Service Check Prealarm |  | hours
Service Check Alarm |  | hours
Offset temp section 1 |  | °C
Offset temp section 2 |  | °C
Offset P. outlet |  | bar
Gain P. outlet |  | bar
Offset P. Sec.#1 |  | bar
Gain P. Sec.#1 |  | bar
Offset P. Tank |  | bar
Gain P. Tank |  | bar
Oxygen type senzor |  | %
Offset Oxygen |  | %
Gain P. Oxygen |  | %
soft start time |  | sec
Start time |  | sec